## Table S-3
Table S-3 Comparison of LA-ICP-MS repeat analyses of ML3B-G glass standard with reported literature values.
| ML3B-G* | LA-ICP-MS
| literature value | average
| ppm | ppm | Δ lit-avg | Δ as % | 1 σ* | 1 σ as %
Li | 4.5 | 5.2 | 0.7 | 15.5 | 0.93 | 21
Sc | 31.6 | 31.01 | -0.59 | -1.9 | 1.3 | 4
Ti | 12769.78 | 12823.95 | 54.16 | 0.4 | 368.34 | 3
V | 268 | 278.64 | 10.64 | 4 | 17.92 | 7
Cr | 177 | 182.94 | 5.94 | 3.4 | 9.81 | 6
Ni | 107 | 112.63 | 5.63 | 5.3 | 6.76 | 6
Sr | 312 | 327.32 | 15.32 | 4.9 | 21.96 | 7
Y | 23.9 | 24.29 | 0.39 | 1.6 | 1.85 | 8
Zr | 122 | 124.98 | 2.98 | 2.4 | 8.76 | 7
Nb | 8.61 | 9.17 | 0.56 | 6.5 | 0.93 | 11
Sn | 1.14 | 1.16 | 0.02 | 1.4 | 0.38 | 33
La | 8.99 | 9.53 | 0.54 | 6 | 0.97 | 11
Ce | 23.1 | 24.95 | 1.85 | 8 | 2.69 | 12
Pr | 3.43 | 3.8 | 0.37 | 10.7 | 0.49 | 14
Nd | 16.7 | 17.95 | 1.25 | 7.5 | 2.22 | 13
Sm | 4.75 | 4.79 | 0.04 | 0.8 | 0.73 | 15
Eu | 1.67 | 1.81 | 0.14 | 8.6 | 0.21 | 12
Gd | 5.26 | 5.67 | 0.41 | 7.8 | 0.92 | 17
Tb | 0.8 | 0.84 | 0.04 | 5.5 | 0.18 | 23
Dy | 4.84 | 4.85 | 0.01 | 0.2 | 0.58 | 12
Ho | 0.91 | 0.91 | 0 | 0.5 | 0.13 | 14
Er | 2.44 | 2.64 | 0.2 | 8.4 | 0.41 | 17
Tm | 0.32 | 0.33 | 0 | 1.5 | 0.06 | 20
Yb | 2.06 | 2 | -0.06 | -2.7 | 0.45 | 22
Lu | 0.29 | 0.32 | 0.04 | 13.2 | 0.08 | 28
Hf | 3.22 | 3.42 | 0.2 | 6.2 | 0.76 | 24
Pb | 1.38 | 1.53 | 0.15 | 10.5 | 0.23 | 17
Th | 0.55 | 0.57 | 0.02 | 4.5 | 0.06 | 11
U | 0.44 | 0.5 | 0.05 | 12.2 | 0.09 | 20
* ML3B-G was analysed twice between every 5 unknown samples, totalling 24 standard analyses during collection of the TSC data reported in this study. Analytical uncertainty is determined by having the first of each two ML3B-G analyses serve as the 'standard' for calculating the concentration of the second ML3B-G analysis, which is run as an unknown sample. The average value of the 12 ML3B-G 'unknowns' is compared here with the literature values for these trace elements (Jochum et al., 2006) along with the standard deviation of these ML3B-G runs.
Miller et al. (2017) Geochem. Persp. Let. 4, 47-52 ¦ doi: 10.7185/geochemlet.1735
© 2017 European Association of Geochemistry
Miller et al.
Magma dynamics of ancient Mt. Etna inferred from clinopyroxene isotopic and trace element systematics